## Slide 1: TCO Report
Martina Salvati
ISW2-2021
Università degli studi di Roma Tor Vergata

## Slide 2: Description of the environment UC & required TPS
UC : Credit Card (CC) Transaction for a Bank
Every CC transaction has to be approved by :
checking the CC is valid
the POS is valid
the money amount is valid (for single transaction and for other limits such as monthly or daily limits)
check if suspect
if the POS type requires a second identification step, to run that step and check complete successfully, issue OK or abort storing the attempt
This conceptual transaction is made of many IT transactions. Let's assume that an x86 core is able to perform 20 TPS of the these conceptual transactions

## Slide 3: The input provided is that the systems must support up to 2000 TPS. - Our input is that a x86 core is able to process 20 TPS* - Based on literature and what said previously, a LinuxONE core (aka IFL) is able to perform 10x TPS, therefore 200 TPS
Sizing
 |  | Workload (TPS) | Core per Server | Max Server Faults | HA Ratio |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  | 2.000 | 24 | 3 | 72% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores |  | Dev % of Workload | Dev cores | Test % of Workload | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores |  | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 100 | 72 | 172 |  | 50% | 50 | 50% | 50 | 100% | 100 | 100% | 272 |  |  | 644 | 21,5 | 372 | 12,4 | 644 | 12,9
LinuxONE | 1 | 200 | 10 |  | 10 |  | 50% | 5,0 | 50% | 5,0 | 100% | 10 |  |  | 20 |  | 30 |  | 30 |  | 50 | 
 |  |  |  |  |  |  |  |  |  |  | * most customers would have exact replica of Prod |  |  |  |  |  |  |  |  |  |  | 
% spare core = 16%
Although the reliability is 76% I thought that the percentage of spare cores obtained from the configuration can be used to achieve the required reliability of 99.999%.
I also believe that a company needs to think about providing an off-premises server to manage peak loads (Cloud Computing).

## Slide 4: Technical Architectures for the two cases
Case 1:
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores)
Case 1:
LinuxONE Server
Servers | Sockets | Cores
32 | 62 | 699
Servers | Sockets | Cores
2 | 30 | 30
Prod | PreProd | Dev
8 server | 5 server | 3 server
172 cores | 100 cores | 50 cores
DR | Test
13 server | 3 server
272 cores | 50 cores
Pre-Prod | Test | Spare
10 server | 5 server | 10 CBU
Prod | Dev | Spare
10 cores | 5 cores | 10 CBU
Site 1
Site 1
Site 2
Site 2
Workload= 2000 TPS
In case of a disaster, such as earthquake or flooding in the data center site area, the 'Test' part could be used at 50% for Dev and 50% for Test. In addition, the DR part covers 100% Pre-Prod and Prod as required.
Model : Active/Active

## Slide 5
Above schemas summarize the TCO for the different environments on 5 years, for each cost component
• Below diagrams highlights the component contribution to total cost and cost per year that make the accumulated TCO
 | Workload [TPS]= | 2.000 |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | x86 | Environments |  |  |  |  |  |  |  | LinuxONE | Environments |  |  |  |  | 
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores) |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 94.080 | 35.280 | 35.280 | 58.800 | 152.880 | 376.320 |  | Components | Hardware | 588.000 | 294.000 | 294.000 | 588.000 | 84.000 | 1.848.000
 | Software | 2.637.754 | 780.001 | 780.001 | 1.539.932 | 4.168.416 | 9.906.104 |  |  | Software | 790.200 | 395.100 | 395.100 | 790.200 | - | 2.370.600
 | People | 533.333 |  |  |  |  | 533.333 |  |  | People | 100.000 |  |  |  |  | 100.000
 | Network | 54.880 | 20.580 | 20.580 | 34.300 | 89.180 | 219.520 |  |  | Network | 9.147 | 4.573 | 4.573 | 9.147 | - | 27.440
 | Space | 26.000 | 6.760 | 6.760 | 11.267 | 39.000 | 89.787 |  |  | Space | 24.267 | 12.133 | 12.133 | 24.267 | - | 72.800
 | Electricity | 42.048 | 15.768 | 15.768 | 26.280 | 68.328 | 168.192 |  |  | Electricity | 3.458 | 1.729 | 1.729 | 3.458 | - | 10.374
 | Total by Env | 3.388.095 | 858.389 | 858.389 | 1.670.579 | 4.517.804 | 11.293.256 |  |  | Total by Env | 1.515.071 | 707.536 | 707.536 | 1.415.071 | 84.000 | 4.429.214
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Savings = | 61%
Chart: 5 year TCO Comparison
| x86 | LinuxONE
Hardware | 223440 | 1764000
Software | 5737688.16 | 2370600
People | 533333.3333 | 100000
Network | 0 | 0
Facilities | 0 | 0
DR | 4517803.52 | 84000
Chart: Accumulated TCO Comparison
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
x86 | 5499840 | 6921313.92 | 8342787.84 | 9818021.76 | 11293255.68
LinuxONE | 2577234.7368 | 2963229.4737 | 3349224.2105 | 3889218.9474 | 4429213.6842

## Slide 6: X86 TCO Assumption
•Hardware
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores)
Acquisition cost: 1200K€ - 30% discount including 3 years Support
Support for following years is 20% of purchase price
• Network
7000€ per Server
-30% disc Maint @ 10% of PP from y2
• People
One FTE covers 30 servers
Average yearly fully loaded costs=100K€
• Space
Fully loaded cost of Sq. meter=2.800€
• Electricity
Cost per kWh=0,10€
• Software
OS (Oracle Linux Premiere): subscription 1950€/year – 20% disc per socket
VM (Oracle VM Premiere) license @1021€/socket - 20% disc maint @ 20% of purchase price from y2
Application Server(Ibm WebSphere): license @100€/PVU -75% disc (70 PVU per core) maint @ 20% of purchase price from y2
DB(Oracle Database): license @40.000€ for 2 cores -75% disc maint @ 20% of purchase price from y2
Data Replication Tools: subscription 3000€/year – 75% disc per core
Monitoring Tools: license @5.000€/server -40% disc. Maint @ 20% of PP from y2
Security Tools: license @5.000€/server -40% disc. Maint @ 20% of from y2

## Slide 7: LinuxONE TCO Assumptions
Hardware
LinuxONE servers configured as the example @ 725K€ for 3 years – 30% disc
Maint @ 10% PP from y4
Network
14000€ per LinuxONE Server -30% disc
Maint @ 10% of PP from y2
People
One FTE covers 10 servers
Average yearly fully loaded costs=120K€
Space
Fully loaded cost of Sq. meter=2.600€
Electricity
Cost per kWh=0,10€
Software
OS: subscription 6000€/year – 20% disc per socket
VM: included in HW
Application Server(Ibm WebSphere): license @100€/PVU -50% disc (120 PVU per core) maint @ 20% of purchase price from y2
DB(Oracle Database): license @40.000€ per cores -50% disc maint @ 20% of purchase price from y2
Data Replication Tools: subscription 3000€/year –50% disc per core
Monitoring Tools: license @5.000€/server -40% disc. Maint @ 20% of PP from y2
Security Tools: license @5.000€/server -40% disc. Maint @ 20% of from y2

## Slide 8
When one platform is more convenient than the other?
For the case considered, (TPS=2000), LinuxOne is more convenient.
Total Cost of Ownership reduced by 61 % in 5 years with LinuxOne.
LinuxONE servers provide users with greater agility and flexibility than that available from x86 servers.
LinuxOne requires much less human interaction (and potential error)
Increasing TPS requirements over time could require deploying more physical x86 servers to satisfy transaction volume growth.
For which TPS the two platforms have similar costs?
I tried to generate TCO with low workload cases, such as 200 TPS. In that case the difference fell to 1% saving in favor of LinuxOne.
What are other considerations on the convenience?
If the workload of uses case is lower (under 200 TPS) TCO of x86 seems to be better.
If the workload of uses cases is higher (over 200 TPS), Linux One has a lower TCO than x86.
Chart: 5 years tco growth with tps
| 50 | 100 | 150 | 200 | 250 | 500 | 750
TCO x86 | 659691.44 | 865311.68 | 1155081.92 | 1561376.2133 | 1916516.6933 | 3197572.4267 | 4508979.3467
TCO LinuxOne | 1552823.1579 | 1552823.1579 | 1552823.1579 | 1552823.1579 | 1718514.7368 | 2041497.8947 | 2207189.4737
Consideration 1

## Slide 9: Consideration 2
How I calculate the HA factor?
The 99,999% reliability I calculated by making a basic reference to an HA of 76%. In addition, I kept low with the number of more cores, below 20%, thinking of using those cores precisely to achieve high reliability.
Why did I choose to represent the model with 2000 tps?
Because it seemed to me the most realistic choice in line with the use case.
How to manage Peaks?
My answer is x86 private cloud environments .
I don't think an optimal solution is spending a high percentage of technology budgets on infrastructure and applications running on x86 platforms to manage peaks. The benefits of implementing private cloud computing vary with the nature of the underlying enterprise. From my research it is very common for industries of this type to approach cloud computing.